## Sheet1
FUNCTIONAL REQUIREMENTS
Req ID | Type | Description | Priority | Acceptance Criteria | Rationale
FR-001 | Functional | The system shall continuously evaluate ingested patient vitals against configured clinical thresholds and flag critical anomalies within 2 seconds. | High | Pass: A heart rate above 140 BPM is flagged as critical within 2 seconds. Fail: The anomaly is ignored or flagged after 2 seconds. | Core function for detecting dangerous patient conditions.
FR-002 | Functional | The system shall continuously ingest and record SpO₂, heart rate, and blood pressure readings received from connected monitoring devices. | High | Pass: Each valid reading received from the monitoring device is recorded with patient ID and timestamp. Fail: A valid reading is lost or stored without identifying information. | Required to maintain a continuous patient monitoring stream.
FR-003 | Functional | The system shall generate and send an emergency alert to the assigned on-call caregiver when a critical vital-sign anomaly is detected. | High | Pass: A critical anomaly results in an alert containing patient ID, abnormal vital, measured value, and timestamp. Fail: No alert is generated or required information is missing. | Enables rapid caregiver response to critical conditions.
FR-004 | Functional | The system shall allow the on-call caregiver to acknowledge a received emergency alert. | High | Pass: Selecting “Acknowledge” changes the alert status to “Acknowledged” and records the acknowledgement time. Fail: Alert status remains unchanged after acknowledgement. | Confirms that the caregiver has received and responded to the alert.
FR-005 | Functional | The system shall allow the remote patient and on-call caregiver to view the patient's current vital readings and recent vital history. | Medium | Pass: The system displays current SpO₂, heart rate, and blood pressure and at least the latest 10 recorded readings. Fail: Any required vital or recent reading is unavailable. | Helps users monitor the patient's condition and review trends.
NON-FUNCTIONAL REQUIREMENTS
Req ID | Type | Description | Priority | Acceptance Criteria | Rationale
NFR-001 | Non-functional | The telemetry ingestion gateway shall support at least 500 concurrent continuous telemetry streams with 99.99% uptime. | High | Pass: Load testing supports ≥500 simultaneous telemetry streams while maintaining 99.99% availability. Fail: The gateway supports fewer than 500 streams or availability falls below 99.99%. | Ensures reliable operation for large-scale continuous monitoring.
NFR-002 | Non-functional | The system shall protect patient telemetry and alert data from unauthorized access during transmission and storage. | High | Pass: Security testing confirms that telemetry is encrypted during transmission and stored data cannot be accessed without authorized credentials. Fail: Unauthenticated access to protected patient data is possible. | Protects sensitive patient information and maintains data security.